## Slide 1
Wind Turbine Failure Detection
Great Learning | Low-Code ML Assignment | Wind Turbine Failure Detection
Aeolus Renewables
Drivetrain condition classification from 10-minute SCADA data
Validated timestamp-grouped chronological evaluation

## Slide 2
Contents / Agenda
Main Presentation | Wind Turbine Failure Detection
1 Executive summary and business problem
2 Exploratory analysis and preprocessing
3 Baseline models, tuning and final selection
4 Final performance, feature interpretation and recommendations
Appendix: data background, baseline table, tuning details and limitations

## Slide 3
Executive Summary
Main Presentation | Wind Turbine Failure Detection
Tuned ANN selected: 92.49% validation recall
Test recall: 86.40% — 1,245 of 1,441 recorded fault states identified
196 missed states remain the principal risk; 1,271 false positives require triage
Deploy as current-condition decision support, not as a proven future-failure predictor

## Slide 4
Business Problem Overview and Solution Approach
Main Presentation | Wind Turbine Failure Detection
Business need
Reduce manual SCADA review by prioritising turbines with recorded drivetrain fault signatures.
Method
Timestamp-grouped 70/15/15 chronology; training-only imputation/scaling; five classifiers; tune ANN and XGBoost; select on validation recall; evaluate once on test.

## Slide 5
EDA Results — Fault Pattern and Sensor Evidence
Main Presentation | Wind Turbine Failure Detection
131,760 records from 15 turbines; overall recorded-failure prevalence 3.00%.
Fault-state distributions shift in gearbox temperature, drivetrain vibration and oil-particle readings.
Use signal combinations rather than a single fixed threshold.

## Slide 6
Data Preprocessing and Leakage Prevention
Main Presentation | Wind Turbine Failure Detection
Data quality
0 duplicates; 645 gearbox-oil, 690 generator-bearing and 636 oil-pressure missing readings.
Treatment
Median imputation fitted on training rows only; StandardScaler fitted on training rows only for ANN.
Features
Calendar cycles, power utilisation, gearbox and generator temperature rise.
Split
Timestamp-grouped chronological partitions prevent the same SCADA timestamp appearing in two splits.

## Slide 7
Model Performance Summary and Final Model Selection
Main Presentation | Wind Turbine Failure Detection
Tuned model | Validation recall | F1 | Precision | Decision
ANN | 92.49% | 53.54% | 37.67% | Selected
XGBoost | 69.10% | 69.34% | 69.57% | Alternative
Selection rule: highest validation recall; F1 then precision only if recall ties.
ANN wins on recall; XGBoost is more precise and has better F1, but misses more recorded faults.
Test data did not influence tuning, selection or threshold choice.

## Slide 8
Actionable Business Recommendations
Main Presentation | Wind Turbine Failure Detection
1. Rank persistent high-risk alerts for operations-centre review.
2. Check vibration, thermal, oil and maintenance context before dispatch.
3. Send recurring or multi-signal alerts to planned inspection queues.
4. Monitor missed states, false-alert workload, sensor drift and downtime outcomes.
5. Validate prospectively before claiming lead time or financial savings.

## Slide 9
APPENDIX — Data Background and Contents
Appendix | Wind Turbine Failure Detection
SCADA panel data: 8,784 ten-minute timestamps across 15 turbines.
Input groups: weather, production, rotational speed, temperatures, vibration spectra, oil condition, operating history and maintenance context.
Target: failure indicates the condition recorded at the timestamp.

## Slide 10
Model Building — Baseline Validation Comparison
Appendix | Wind Turbine Failure Detection
Model | Accuracy | Precision | Recall | F1
Decision Tree | 90.7% | 27.7% | 47.9% | 35.1%
Random Forest | 95.3% | 82.9% | 14.4% | 24.6%
Gradient Boosting | 94.5% | 47.0% | 29.7% | 36.4%
XGBoost | 96.6% | 71.0% | 60.8% | 65.5%
Artificial Neural Network | 94.8% | 50.3% | 68.0% | 57.8%

## Slide 11
Model Improvement — Hyperparameter Tuning
Appendix | Wind Turbine Failure Detection
XGBoost search: 6 randomized configurations; two timestamp-grouped expanding folds; recall optimization.
Ranges: 80–200 trees, depth 3–6, learning rate 0.02–0.10, row/column sampling 0.70–1.00, min-child weight 1–5.
Best XGBoost CV recall 48.45%; holdout validation recall 69.10%.
ANN: 64/24 layers, BatchNorm, dropout 0.30/0.15, Adam and early stopping.

## Slide 12
Final Model Performance — Untouched Test Set
Appendix | Wind Turbine Failure Detection
Tuned ANN
Accuracy 92.58% | Precision 49.48% | Recall 86.40% | F1 62.93%
TN 17,058 | FP 1,271 | FN 196 | TP 1,245
Interpretation: false negatives require monitoring; false positives require remote review and alert-persistence rules.

## Slide 13
Feature Interpretation and Deployment Limitations
Appendix | Wind Turbine Failure Detection
Permutation importance measures validation-recall reduction after shuffling an input.
It identifies associated condition signals, not causal mechanisms.
Use top signals to focus technician checks; retrain and monitor drift as operations change.

## Slide 14
Timestamp-Grouped Split Verification
Appendix | Wind Turbine Failure Detection
Train: 92,220 rows | 6,148 timestamps | 1.60% faults
Validation: 19,770 rows | 1,318 timestamps | 5.26% faults
Test: 19,770 rows | 1,318 timestamps | 7.29% faults
No timestamp occurs in more than one partition.

## Slide 15
EDA Supporting View
Appendix | Wind Turbine Failure Detection
Class distribution and turbine-level failure patterns frame the imbalanced classification task.
Failure prevalence differs over time; accuracy alone is insufficient.

## Slide 16
Operational Use Case
Appendix | Wind Turbine Failure Detection
Operations centre reviews alert evidence remotely.
Technician dispatch follows persistence or corroborating signals.
Feedback from work orders supports recalibration and governance.